## Sheet2
zone.number	region	zone	resource	season	value.doc	units.doc	reference	assump.redist	value.redist	units.redist	notes.conv	value.conv	units.conv
0	NA	General	heat	winter	0	kW	NA	NA	0	kW	from kW to MW	0	MW
1	south	Factory (south)	heat	winter	6000	kW	[6] Slide 20	NA	6000	kW	from kW to MW	6	MW
2	south	Factory (assembly)	heat	winter	5600	kW	[6] Slide 20	NA	5600	kW	from kW to MW	5.6	MW
3	production	North district	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
4	production	Multifunction district	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
5	production	Factory (turbine blades)	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
6	production	Technology building	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
7	production	Quality building	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
8	production	Dormitories	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
9	residential	Residential area	heat	winter	13220	kW	[6] Slide 20	NA	13220	kW	from kW to MW	13.22	MW
10	residential	Hospital	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
11	residential	School	heat	winter	0	kW	[6] Slide 20	NA	0	kW	from kW to MW	0	MW
12	energyIsland	Energy island	heat	winter	50	kW	[6] Slide 20	NA	50	kW	from kW to MW	0.05	MW
13	NA	reserved	heat	winter	2400	kW	[6] Slide 20	NA	2400	kW	from kW to MW	2.4	MW
0	NA	General	heat	summer	0	kW	NA	NA	NA	NA	NA	NA	NA
1	south	Factory (south)	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
2	south	Factory (assembly)	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
3	production	North district	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
4	production	Multifunction district	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
5	production	Factory (turbine blades)	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
6	production	Technology building	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
7	production	Quality building	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
8	production	Dormitories	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
9	residential	Residential area	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
10	residential	Hospital	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
11	residential	School	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
12	energyIsland	Energy island	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
13	NA	reserved	heat	summer	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
0	NA	General	heat	shoulder	0	kW	NA	TODO	TODO	TODO	TODO	TODO	TODO
1	south	Factory (south)	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
2	south	Factory (assembly)	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
3	production	North district	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
4	production	Multifunction district	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
5	production	Factory (turbine blades)	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
6	production	Technology building	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
7	production	Quality building	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
8	production	Dormitories	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
9	residential	Residential area	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
10	residential	Hospital	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
11	residential	School	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
12	energyIsland	Energy island	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
13	NA	reserved	heat	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
0	NA	General	cooling	winter	0	kW	NA	NA	NA	NA	NA	NA	NA
1	south	Factory (south)	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
2	south	Factory (assembly)	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
3	production	North district	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
4	production	Multifunction district	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
5	production	Factory (turbine blades)	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
6	production	Technology building	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
7	production	Quality building	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
8	production	Dormitories	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
9	residential	Residential area	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
10	residential	Hospital	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
11	residential	School	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
12	energyIsland	Energy island	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
13	NA	reserved	cooling	winter	0	kW	[6] Slide 20	NA	NA	NA	NA	NA	NA
0	NA	General	cooling	summer	0	kW	NA	NA	0	kW	from kW to MW	0	MW
1	south	Factory (south)	cooling	summer	0	kW	[6] Slide 20	none	0	kW	from kW to MW	0	MW
2	south	Factory (assembly)	cooling	summer	1985	kW	[6] Slide 20	none	1985	kW	from kW to MW	1.985	MW
3	production	North district	cooling	summer	0	kW	[6] Slide 20	none	0	kW	from kW to MW	0	MW
4	production	Multifunction district	cooling	summer	304	kW	[6] Slide 20	none	304	kW	from kW to MW	0.304	MW
5	production	Factory (turbine blades)	cooling	summer	400	kW	[6] Slide 20	none	400	kW	from kW to MW	0.4	MW
6	production	Technology building	cooling	summer	400	kW	[6] Slide 20	none	400	kW	from kW to MW	0.4	MW
7	production	Quality building	cooling	summer	288	kW	[6] Slide 20	none	288	kW	from kW to MW	0.288	MW
8	production	Dormitories	cooling	summer	940	kW	[6] Slide 20	none	940	kW	from kW to MW	0.94	MW
9	residential	Residential area	cooling	summer	17280	kW	[6] Slide 20	none	17280	kW	from kW to MW	17.28	MW
10	residential	Hospital	cooling	summer	272	kW	[6] Slide 20	none	272	kW	from kW to MW	0.272	MW
11	residential	School	cooling	summer	730	kW	[6] Slide 20	none	730	kW	from kW to MW	0.73	MW
12	energyIsland	Energy island	cooling	summer	100	kW	[6] Slide 20	none	100	kW	from kW to MW	0.1	MW
13	NA	reserved	cooling	summer	0	kW	[6] Slide 20	none	0	kW	from kW to MW	0	MW
0	NA	General	cooling	shoulder	0	kW	NA	TODO	TODO	TODO	TODO	TODO	TODO
1	south	Factory (south)	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
2	south	Factory (assembly)	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
3	production	North district	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
4	production	Multifunction district	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
5	production	Factory (turbine blades)	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
6	production	Technology building	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
7	production	Quality building	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
8	production	Dormitories	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
9	residential	Residential area	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
10	residential	Hospital	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
11	residential	School	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
12	energyIsland	Energy island	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
13	NA	reserved	cooling	shoulder	0	kW	[6] Slide 20	TODO	TODO	TODO	TODO	TODO	TODO
0	NA	General	electricity	winter	0	kW	NA	NA	0	kWh/year	from kWh/year to MW (x 3.6 / seconds in year)	0	MW
1	south	Factory (south)	electricity	winter	1117	1e5 kWh	[6] Slide 20	none	1.12E+008	kWh/year	from kWh/year to MW	12.75	MW
2	south	Factory (assembly)	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
3	production	North district	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
4	production	Multifunction district	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
5	production	Factory (turbine blades)	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
6	production	Technology building	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
7	production	Quality building	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
8	production	Dormitories	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
9	residential	Residential area	electricity	winter	600	1e5 kWh	[6] Slide 20	none	6.00E+007	kWh/year	from kWh/year to MW	6.85	MW
10	residential	Hospital	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
11	residential	School	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
12	energyIsland	Energy island	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
13	NA	reserved	electricity	winter	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
0	NA	General	electricity	summer	0	1e5 kWh	NA	NA	0	kWh/year	from kWh/year to MW	0	MW
1	south	Factory (south)	electricity	summer	1117	1e5 kWh	[6] Slide 20	none	1.12E+008	kWh/year	from kWh/year to MW	12.75	MW
2	south	Factory (assembly)	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
3	production	North district	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
4	production	Multifunction district	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
5	production	Factory (turbine blades)	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
6	production	Technology building	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
7	production	Quality building	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
8	production	Dormitories	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
9	residential	Residential area	electricity	summer	600	1e5 kWh	[6] Slide 20	none	6.00E+007	kWh/year	from kWh/year to MW	6.85	MW
10	residential	Hospital	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
11	residential	School	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
12	energyIsland	Energy island	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
13	NA	reserved	electricity	summer	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
0	NA	General	electricity	shoulder	0	1e5 kWh	NA	NA	0	kWh/year	from kWh/year to MW	0	MW
1	south	Factory (south)	electricity	shoulder	1117	1e5 kWh	[6] Slide 20	none	1.12E+008	kWh/year	from kWh/year to MW	12.75	MW
2	south	Factory (assembly)	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
3	production	North district	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
4	production	Multifunction district	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
5	production	Factory (turbine blades)	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
6	production	Technology building	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
7	production	Quality building	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
8	production	Dormitories	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
9	residential	Residential area	electricity	shoulder	600	1e5 kWh	[6] Slide 20	none	6.00E+007	kWh/year	from kWh/year to MW	6.85	MW
10	residential	Hospital	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
11	residential	School	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
12	energyIsland	Energy island	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
13	NA	reserved	electricity	shoulder	0	1e5 kWh	[6] Slide 20	none	0	kWh/year	from kWh/year to MW	0	MW
0	NA	General	water	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	water	winter	140000	tons/year	[5] Slide 26, assume this is the 'other'	assign demand to the region-defining zone (1)	140000	tons/year	from tons/year to kg/s	4.44	kg/s
2	south	Factory (assembly)	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	water	winter	160000	tons/year	[5] Slide 26	assign demand to the region-defining zone (3)	160000	tons/year	from tons/year to kg/s	5.07	kg/s
4	production	Multifunction district	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	water	winter	335000	tons/year	[5] Slide 26	assign demand to the region-defining zone (9)	335000	tons/year	from tons/year to kg/s	10.6	kg/s
10	residential	Hospital	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	water	winter	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	water	winter	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	water	winter	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	water	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	water	summer	140000	tons/year	[5] Slide 26, assume this is the 'other'	assign demand to the region-defining zone (1)	140000	tons/year	from tons/year to kg/s	4.44	kg/s
2	south	Factory (assembly)	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	water	summer	160000	tons/year	[5] Slide 26	assign demand to the region-defining zone (3)	160000	tons/year	from tons/year to kg/s	5.07	kg/s
4	production	Multifunction district	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	water	summer	335000	tons/year	[5] Slide 26	assign demand to the region-defining zone (9)	335000	tons/year	from tons/year to kg/s	10.6	kg/s
10	residential	Hospital	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	water	summer	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	water	summer	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	water	summer	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	water	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	water	shoulder	140000	tons/year	[5] Slide 26, assume this is the 'other'	assign demand to the region-defining zone (1)	140000	tons/year	from tons/year to kg/s	4.44	kg/s
2	south	Factory (assembly)	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	water	shoulder	160000	tons/year	[5] Slide 26	assign demand to the region-defining zone (3)	160000	tons/year	from tons/year to kg/s	5.07	kg/s
4	production	Multifunction district	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	water	shoulder	335000	tons/year	[5] Slide 26	assign demand to the region-defining zone (9)	335000	tons/year	from tons/year to kg/s	10.6	kg/s
10	residential	Hospital	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	water	shoulder	0	tons/year	NA	assign demand to the region-defining zone (3)	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	water	shoulder	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	water	shoulder	0	tons/year	[5] Slide 26, assume zero derived demand for the energy island, so 'other' is attributed to the south region	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	wastewater	winter	-1200	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day to kg/s	0	kg/s
1	south	Factory (south)	wastewater	winter	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
2	south	Factory (assembly)	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
3	production	North district	wastewater	winter	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
4	production	Multifunction district	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
5	production	Factory (turbine blades)	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
6	production	Technology building	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
7	production	Quality building	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
8	production	Dormitories	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
9	residential	Residential area	wastewater	winter	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
10	residential	Hospital	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
11	residential	School	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
12	energyIsland	Energy island	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
13	NA	reserved	wastewater	winter	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
0	NA	General	wastewater	summer	-1200	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day to kg/s	0	kg/s
1	south	Factory (south)	wastewater	summer	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
2	south	Factory (assembly)	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
3	production	North district	wastewater	summer	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
4	production	Multifunction district	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
5	production	Factory (turbine blades)	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
6	production	Technology building	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
7	production	Quality building	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
8	production	Dormitories	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
9	residential	Residential area	wastewater	summer	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
10	residential	Hospital	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
11	residential	School	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
12	energyIsland	Energy island	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
13	NA	reserved	wastewater	summer	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
0	NA	General	wastewater	shoulder	-1200	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day to kg/s	0	kg/s
1	south	Factory (south)	wastewater	shoulder	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
2	south	Factory (assembly)	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
3	production	North district	wastewater	shoulder	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
4	production	Multifunction district	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
5	production	Factory (turbine blades)	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
6	production	Technology building	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
7	production	Quality building	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
8	production	Dormitories	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
9	residential	Residential area	wastewater	shoulder	0	tons/day	NA	Takes an equal share from (0)	-400	tons/day	from tons/day to kg/s	-4.63	kg/s
10	residential	Hospital	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
11	residential	School	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
12	energyIsland	Energy island	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
13	NA	reserved	wastewater	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day to kg/s	0	kg/s
0	NA	General	solid waste	winter	-275100	kg/year	[5] Slide 28 (no disaggregation of the demand), records 8m3/day of solid waste and 360 tons/year of organic waste. See * for calculations of organic and non-organic proportions	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	kg/year	from kg/year to kg/s	NA	kg/s
1	south	Factory (south)	solid waste	winter	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
2	south	Factory (assembly)	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
3	production	North district	solid waste	winter	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
4	production	Multifunction district	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
5	production	Factory (turbine blades)	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
6	production	Technology building	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
7	production	Quality building	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
8	production	Dormitories	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
9	residential	Residential area	solid waste	winter	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
10	residential	Hospital	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
11	residential	School	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
12	energyIsland	Energy island	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
13	NA	reserved	solid waste	winter	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
0	NA	General	solid waste	summer	-275100	kg/year	[5] Slide 28 (no disaggregation of the demand), records 8m3/day of solid waste and 360 tons/year of organic waste. See * for calculations of organic and non-organic proportions	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	kg/year	from kg/year to kg/s	NA	kg/s
1	south	Factory (south)	solid waste	summer	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
2	south	Factory (assembly)	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
3	production	North district	solid waste	summer	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
4	production	Multifunction district	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
5	production	Factory (turbine blades)	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
6	production	Technology building	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
7	production	Quality building	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
8	production	Dormitories	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
9	residential	Residential area	solid waste	summer	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
10	residential	Hospital	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
11	residential	School	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
12	energyIsland	Energy island	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
13	NA	reserved	solid waste	summer	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
0	NA	General	solid waste	shoulder	-275100	kg/year	[5] Slide 28 (no disaggregation of the demand), records 8m3/day of solid waste and 360 tons/year of organic waste. See * for calculations of organic and non-organic proportions	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	kg/year	from kg/year to kg/s	NA	kg/s
1	south	Factory (south)	solid waste	shoulder	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
2	south	Factory (assembly)	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
3	production	North district	solid waste	shoulder	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
4	production	Multifunction district	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
5	production	Factory (turbine blades)	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
6	production	Technology building	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
7	production	Quality building	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
8	production	Dormitories	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
9	residential	Residential area	solid waste	shoulder	0	kg/year	NA	Takes an equal share from (0)	-91700	kg/year	from kg/year to kg/s	-0.003	kg/s
10	residential	Hospital	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
11	residential	School	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
12	energyIsland	Energy island	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
13	NA	reserved	solid waste	shoulder	0	kg/year	NA	NA	0	kg/year	from kg/year to kg/s	NA	kg/s
0	NA	General	organic waste	winter	-360	tons/year	[5] Slide 28 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	organic waste	winter	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
2	south	Factory (assembly)	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	organic waste	winter	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
4	production	Multifunction district	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	organic waste	winter	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
10	residential	Hospital	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	organic waste	winter	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	organic waste	summer	-360	tons/year	[5] Slide 28 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	organic waste	summer	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
2	south	Factory (assembly)	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	organic waste	summer	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
4	production	Multifunction district	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	organic waste	summer	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
10	residential	Hospital	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	organic waste	summer	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	organic waste	shoulder	-360	tons/year	[5] Slide 28 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/year	from tons/year to kg/s	0	kg/s
1	south	Factory (south)	organic waste	shoulder	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
2	south	Factory (assembly)	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
3	production	North district	organic waste	shoulder	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
4	production	Multifunction district	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
5	production	Factory (turbine blades)	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
6	production	Technology building	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
7	production	Quality building	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
8	production	Dormitories	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
9	residential	Residential area	organic waste	shoulder	0	tons/year	NA	Takes an equal share from (0)	-120	tons/year	from tons/year to kg/s	-0.004	kg/s
10	residential	Hospital	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
11	residential	School	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
12	energyIsland	Energy island	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
13	NA	reserved	organic waste	shoulder	0	tons/year	NA	NA	0	tons/year	from tons/year to kg/s	0	kg/s
0	NA	General	reused water	winter	600	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day kg/s	0	kg/s
1	south	Factory (south)	reused water	winter	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
2	south	Factory (assembly)	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
3	production	North district	reused water	winter	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
4	production	Multifunction district	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
5	production	Factory (turbine blades)	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
6	production	Technology building	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
7	production	Quality building	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
8	production	Dormitories	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
9	residential	Residential area	reused water	winter	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
10	residential	Hospital	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
11	residential	School	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
12	energyIsland	Energy island	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
13	NA	reserved	reused water	winter	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
0	NA	General	reused water	summer	600	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day kg/s	0	kg/s
1	south	Factory (south)	reused water	summer	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
2	south	Factory (assembly)	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
3	production	North district	reused water	summer	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
4	production	Multifunction district	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
5	production	Factory (turbine blades)	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
6	production	Technology building	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
7	production	Quality building	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
8	production	Dormitories	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
9	residential	Residential area	reused water	summer	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
10	residential	Hospital	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
11	residential	School	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
12	energyIsland	Energy island	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
13	NA	reserved	reused water	summer	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
0	NA	General	reused water	shoulder	600	tons/day	[5] Slide 26 (no disaggregation of the demand)	Share (0) demand equally between the region-defining zones (1), (3), and (9)	0	tons/day	from tons/day kg/s	0	kg/s
1	south	Factory (south)	reused water	shoulder	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
2	south	Factory (assembly)	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
3	production	North district	reused water	shoulder	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
4	production	Multifunction district	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
5	production	Factory (turbine blades)	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
6	production	Technology building	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
7	production	Quality building	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
8	production	Dormitories	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
9	residential	Residential area	reused water	shoulder	0	tons/day	NA	Takes an equal share from (0)	200	tons/day	from tons/day kg/s	2.31	kg/s
10	residential	Hospital	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
11	residential	School	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
12	energyIsland	Energy island	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s
13	NA	reserved	reused water	shoulder	0	tons/day	NA	NA	0	tons/day	from tons/day kg/s	0	kg/s